Assignment 2 due 23/3

  - Construct a sin signal with frequency of 10 (f=10 Hz). Sample it with 5 points/sec (fs = 5 Hz). Plot your result and explain.

Figure 1 sin signal of10Hz- ther are10 cycles of unit(zero to 2pi)  in one sec, with fixed interval sampling  and changed interval sempaling.

  - A recording electrode has 3MΩ impedance. What should be the preamplifier impedance so that the difference between the measured V and the original voltage will be less than 1 %.

V'=RiVRi+R0    R0=3, 0.9<V'<1.1V→0.9V<RiVRi+3 <1.1V

0.99<RiRi+3<1.01→0.99Ri+2.97<Ri<1.01Ri+3.03

297<Ri or Ri<-303   , ∀R>0 → 297MΩ<Ri

  - How many bits we need to use to get a resolution of 1uv if the range is ±5V and we amplify the signal by 10000. Note that we want to utilize the full range

n=log2RQ  →R=5-(-5)10000V=0.001V, Q=10-6V→n=log210-310-6=log1000log2=9.9657=~10

4.A student forgot to amplify a signal in a -5 to +5 volt system. Its sampling resolution is 12 bits. The sampling rate is 30kHz. How many different points will he/she have for a 1ms action potential as in the picture?

Q=R2n=5-(-5)212=0.002441V=2441µV

The signal range is 160[µV] , so although the student is sampling 30 times in this ms, so the sexually confused student will get no values what or ever.

1ms

150 uv

-10 uv